|  | INSPECTION & TEST CHECKLIST (ITC) CIVIL WORKS - ENGINEER / SUPERVISOR CHECKLIST |
| --- | --- |

Purpose: This ITC records inspection and verification of civil works against project drawings, specifications, SWMS, permits and Energy Queensland / Ergon Energy requirements. Complete hold/witness points before work is covered or progressed. This is to be sent with photo and evident to the RPQ Engineer and for record purposes throughout the project for project hold points.

1. PROJECT / INSPECTION DETAILS

| Project | WR1773121 MILC Millchester Substation Civil Works | ITC No. | ITC-CW-001 |
| --- | --- | --- | --- |
| Location | 251 Bluff Rd, Millchester QLD 4820 | Revision | A |
| Principal Contractor | Energy Queensland / Ergon Energy | Date | ____ / ____ / ______ |
| Company | Austen Landscaping & Earthmoving | Work Area / Lot | ____________________________ |
| Supervisor | John Austen | Engineer / Inspector | ____________________________ |
| Drawing / Spec Ref. | ____________________________ | Weather | ____________________________ |

2. STATUS / HOLD POINT LEGEND

| P = Pass | F = Fail | NA = Not Applicable | HP = Hold Point - do not proceed until signed | WP = Witness Point | R = Record / evidence required | CAR = Corrective Action Required | CLR = Close-out required |
| --- | --- | --- | --- | --- | --- | --- | --- |

3. CIVIL WORKS INSPECTION / TEST CHECKLIST

Tick P / F / NA. Add comments, drawing references, photos, test reports or corrective actions where required. Engineer / Supervisor to sign off hold points before covering, backfilling or progressing work.

| ID | Inspection / Test Item | Acceptance / Verification Criteria | HP / WP / R | P | F | NA | Detail / Comments / Evidence / Action |
| --- | --- | --- | --- | --- | --- | --- | --- |
| ITC-001 | Approved drawings, permits and SWMS reviewed | Latest approved drawings/specs available; applicable SWMS selected and briefed; permits confirmed before works start. | R | [ ] | [ ] | [ ] |  |
| ITC-002 | Site set out / survey control | Work location, levels, offsets, boundaries and exclusion zones confirmed against drawings and site instructions. | WP/R | [ ] | [ ] | [ ] |  |
| ITC-003 | Services identification before excavation | DBYD/Before You Dig, service plans, locating, mark-up and potholing completed where required. | HP/R | [ ] | [ ] | [ ] |  |
| ITC-004 | Excavation condition and safety controls | Excavation dimensions, access/egress, barricades, spoil placement and collapse controls suitable and maintained. | WP | [ ] | [ ] | [ ] |  |
| ITC-005 | Subgrade inspection | Formation level, ground condition, soft spots, moisture and unsuitable material checked before placing bedding, fill or concrete. | HP | [ ] | [ ] | [ ] |  |
| ITC-006 | Conduit / pipe / service installation | Conduit type, size, route, depth, separation, bend radius, bedding and marker tape comply with drawing/specification. | HP/R | [ ] | [ ] | [ ] |  |
| ITC-007 | Pit / chamber installation | Pit location, orientation, level, cover, drainage, support, penetrations and connection details checked. | WP/R | [ ] | [ ] | [ ] |  |
| ITC-008 | Earthing grid / live service interface | Earthing grid and live service controls maintained; damage or exposure reported; ESO / electrical supervision used where required. | HP/R | [ ] | [ ] | [ ] |  |
| ITC-009 | Backfill material and compaction | Approved material used; layer thickness, moisture condition and compaction method suitable; no damage to services. | WP/R | [ ] | [ ] | [ ] |  |
| ITC-010 | Compaction testing / density evidence | Compaction test locations, reports and results meet specification before next stage / surfacing. | HP/R | [ ] | [ ] | [ ] |  |
| ITC-011 | Concrete works / formwork / reinforcement | Formwork, dimensions, levels, reinforcement, embedments, concrete strength/slump/delivery docket and finish checked. | HP/R | [ ] | [ ] | [ ] |  |
| ITC-012 | Surface reinstatement / drainage | Finished levels, falls, drainage paths, erosion controls, road/track reinstatement and access maintained. | WP | [ ] | [ ] | [ ] |  |
| ITC-013 | Environmental controls | Spill kits, waste, dust, sediment, slurry, contaminated material and drain protection controls in place. | WP/R | [ ] | [ ] | [ ] |  |
| ITC-014 | Photos and records | Before/during/after photos, test records, delivery dockets, permits and inspection evidence captured. | R | [ ] | [ ] | [ ] |  |
| ITC-015 | As-built / redline mark-up | As-built locations, depths, levels, changes and hold point evidence recorded for handover. | R | [ ] | [ ] | [ ] |  |
| ITC-016 | Final engineer / supervisor inspection | Work area safe, complete, clean, compliant and ready for handover or next stage. | HP | [ ] | [ ] | [ ] |  |

4. NON-CONFORMANCE / CORRECTIVE ACTION REGISTER

| Item ID | Issue / Non-Conformance | Corrective Action Required | Responsible Person | Close-out Date / Initial |
| --- | --- | --- | --- | --- |

5. INSPECTION HOLD / WITNESS POINT SIGN-OFF

| HP/WP ID | Description | Released By | Role | Signature | Date / Time |
| --- | --- | --- | --- | --- | --- |

6. FINAL ACCEPTANCE

| Role | Name | Signature | Date | Comments |
| --- | --- | --- | --- | --- |
| Austen Supervisor | John Austen |  |  |  |
| Engineer / Client Representative |  |  |  |  |

Notes: This ITC is a project record and must be retained with photos, test reports, permits, delivery dockets, compaction results and any corrective action evidence. Do not cover, backfill or progress beyond hold points until release is recorded.

THINK SAFE - WORK SAFE - GO HOME SAFE

Austen Landscaping & Earthmoving | ABN 30 643 517 350 | Phone: 0407 763 435 | Email: kathieshome@westnet.com.au | ITC Civil Works | Uncontrolled when printed