|  | POLICY & PROCEDURE PP-010 - Working Near Electrical Assets Procedure |
| --- | --- |

| Document | Working Near Electrical Assets Procedure | Document No. | PP-010 |
| --- | --- | --- | --- |
| Company | Austen Landscaping & Earthmoving | Revision | 1.0 |
| Prepared By | John Austen | Date | 15/05/2026 |
| Project | WR1773121 MILC Millchester Substation Civil Works | Status | Approved for use / Uncontrolled when printed |

PURPOSE

To control risks associated with work near live electrical assets, exposed live parts, substations, underground cables and overhead lines.

SCOPE

Applies to civil, excavation, plant, delivery, tool use and other activities near electrical assets.

RESPONSIBILITIES

| Role | Responsibility |
| --- | --- |
| Management | Ensure electrical risks are identified and controlled through SWMS, permits and competent personnel. |
| Supervisors | Confirm exclusion zones, ESO requirements, permits and communication methods. |
| Workers | Maintain approach distances, follow directions and stop work if electrical controls cannot be maintained. |

PROCEDURE / REQUIREMENTS

Treat all electrical assets as live unless proven otherwise by authorised process.

Maintain exclusion zones and minimum approach distances.

Use an Electrical Safety Observer / Safety Observer where required.

Use insulated tools, gloves, barriers, mats or arc flash PPE where required.

Do not touch damaged or exposed electrical cables or conduits.

Plant, tools and materials must not enter electrical exclusion zones without approved controls.

Stop work immediately if an unidentified cable, exposed live part or electrical damage is found.

Emergency response must prevent secondary electrocution.

RECORDS / FORMS

MLCH-03 Working On or Near Exposed Live Parts

MLCH-02 Working Near Underground Services

MLCH-05 Excavations in a Live Substation

Daily Pre-Start SMEAC Form

REVIEW

This document shall be reviewed annually, following an incident, when work activities change, when legislation or client requirements change, or when the document is identified as no longer effective.

THINK SAFE - WORK SAFE - GO HOME SAFE

Austen Landscaping & Earthmoving | ABN 30 643 517 350 | Phone: 0407 763 435 | Email: kathieshome@westnet.com.au | Uncontrolled when printed