|  | POLICY & PROCEDURE PP-015 - Environmental Spill Response Procedure |
| --- | --- |

| Document | Environmental Spill Response Procedure | Document No. | PP-015 |
| --- | --- | --- | --- |
| Company | Austen Landscaping & Earthmoving | Revision | 1.0 |
| Prepared By | John Austen | Date | 15/05/2026 |
| Project | WR1773121 MILC Millchester Substation Civil Works | Status | Approved for use / Uncontrolled when printed |

PURPOSE

To ensure spills are prevented, contained, cleaned up and reported correctly.

SCOPE

Applies to fuel, oil, hydraulic fluid, chemicals, slurry, contaminated water and other substances that may cause environmental harm.

RESPONSIBILITIES

| Role | Responsibility |
| --- | --- |
| Management | Provide spill kits, training and disposal arrangements. |
| Supervisors | Ensure spill response resources are available and coordinate spill response. |
| Workers | Stop, contain and report spills immediately if safe to do so. |

PROCEDURE / REQUIREMENTS

Stop work and stop the source of the spill if safe to do so.

Raise the alarm and notify John Austen / Site Supervisor.

Prevent the spill entering drains, waterways or soil using spill kit materials.

Use suitable PPE before responding.

Contain and absorb the spill using pads, socks, bunds or other controls.

Collect contaminated waste and dispose of it correctly.

For major spills, fire, injury or immediate danger, call 000 and notify the principal contractor.

Restock spill kits after use and record the incident.

RECORDS / FORMS

MLCH-11 Environmental Controls & Spill Response

Incident Report Form

Waste disposal records

Spill kit inspection records

REVIEW

This document shall be reviewed annually, following an incident, when work activities change, when legislation or client requirements change, or when the document is identified as no longer effective.

THINK SAFE - WORK SAFE - GO HOME SAFE

Austen Landscaping & Earthmoving | ABN 30 643 517 350 | Phone: 0407 763 435 | Email: kathieshome@westnet.com.au | Uncontrolled when printed